## Summary
¦ | Scenario | ¦ | Description | ¦ | Good | ¦ | Decent | ¦ | Bad | ¦
¦ | --- | ¦ | --- | ¦ | --- | ¦ | --- | ¦ | --- | ¦
¦ | RenalStenosisModerateUnilateral | ¦ | 60% occlusion of left kidney | ¦<span class="success"> | 7 | </span>¦<span class="warning"> | 1 | </span>¦<span class="danger"> | 0 | </span>¦
¦ | RenalStenosisSevereBilateral | ¦ | 90 % occlusion of both kidneys | ¦<span class="success"> | 7 | </span>¦<span class="warning"> | 1 | </span>¦<span class="danger"> | 0 | </span>¦
¦ | HemorrhageClass2NoFluid | ¦ | 140 mL/min hemorrhage for 10 minutes | ¦<span class="success"> | 8 | </span>¦<span class="warning"> | 0 | </span>¦<span class="danger"> | 0 | </span>¦
¦ | HemorrhageClass3NoFluid | ¦ | 250 mL/min hemorrhage for 10 minutes | ¦<span class="success"> | 8 | </span>¦<span class="warning"> | 0 | </span>¦<span class="danger"> | 0 | </span>¦
¦ | HighAltitudeEnvironmentChange | ¦ | High altitude environment change | ¦<span class="success"> | 3 | </span>¦<span class="warning"> | 0 | </span>¦<span class="danger"> | 0 | </span>¦
¦ | SalineIngestion | ¦ | Patient ingests 1L of hypertonic saline | ¦<span class="success"> | 1 | </span>¦<span class="warning"> | 1 | </span>¦<span class="danger"> | 0 | </span>¦
¦ | WaterIngestion | ¦ | Patient ingests 1 L of water | ¦<span class="success"> | 1 | </span>¦<span class="warning"> | 3 | </span>¦<span class="danger"> | 0 | </span>¦
¦ |  | ¦ | Total | ¦<span class="success"> | 35 | </span>¦<span class="warning"> | 6 | </span>¦<span class="danger"> | 0 | </span>¦

## UnilateralStenosis
¦ | Condition | ¦ | Notes | ¦ | Sampled Scenario Time (s) | ¦ | Blood Volume (mL) | ¦ | Systemic Vascular Resistance (mmHg/mL/s) | ¦ | Cardiac Output (mL/min) | ¦ | Mean Arterial Pressure (mmHg) | ¦ | Systolic Pressure (mmHg) | ¦ | Diastolic Pressure (mmHg) | ¦ | %Renal Blood Flow (mL/min) | ¦ | GFR (mL/min) | ¦
¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦
¦ | %Renal Stenosis | ¦ | 60% unilateral occlusion of kidneys | ¦ | 120 | ¦<span class="warning"> | Increase @cite klabunde2011cardiovascular | </span>¦<span class="success"> | Increase @cite klabunde2011cardiovascular | </span>¦<span class="success"> | Mild decrease @cite anderson1990development | </span>¦<span class="success"> | Increase @cite debrunye2006assessment | </span>¦<span class="success"> | Increase @cite debrunye2006assessment | </span>¦<span class="success"> | Increase @cite debrunye2006assessment | </span>¦<span class="success"> | Decrease @cite textor2011atherosclerotic | </span>¦<span class="success"> | Decrease @cite textor2011atherosclerotic | </span>¦

## BilateralStenosis
¦ | Condition | ¦ | Notes | ¦ | Sampled Scenario Time (s) | ¦ | Blood Volume (mL) | ¦ | Systemic Vascular Resistance (mmHg/mL/s) | ¦ | Cardiac Output (mL/min) | ¦ | Mean Arterial Pressure (mmHg) | ¦ | Systolic Pressure (mmHg) | ¦ | Diastolic Pressure (mmHg) | ¦ | %Renal Blood Flow (mL/min) | ¦ | GFR (mL/min) | ¦
¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦
¦ | %Renal Stenosis | ¦ | 90% bilateral occlusion of kidneys | ¦ | 120 | ¦<span class="warning"> | Increase @cite klabunde2011cardiovascular | </span>¦<span class="success"> | Increase @cite klabunde2011cardiovascular | </span>¦<span class="success"> | Mild decrease @cite anderson1990development | </span>¦<span class="success"> | Increase @cite debrunye2006assessment | </span>¦<span class="success"> | Increase @cite debrunye2006assessment | </span>¦<span class="success"> | Increase @cite debrunye2006assessment | </span>¦<span class="success"> | Decrease @cite textor2011atherosclerotic | </span>¦<span class="success"> | Decrease @cite textor2011atherosclerotic</span> | ¦

## HemorrhageClass2NoFluid
¦ | Action | ¦ | Notes | ¦ | Action Occurrence Time (s) | ¦ | Sampled Scenario Time (s) | ¦ | Glomerular Filtration Rate (mL/min) | ¦ | Mean Arterial Pressure (mmHg) | ¦ | %Renal Blood Flow(mL/min) | ¦ | Urine Production Rate (mL/min) | ¦
¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦
¦ | Initiate 140 mL/min Hemorrhage | ¦ |  | ¦ | 30 | ¦ | 600 | ¦<span class="success"> | Decrease @cite corcoran1943effects | </span>¦<span class="success"> | Decrease @cite corcoran1943effects | </span>¦<span class="success"> | Decrease @cite corcoran1943effects | </span>¦<span class="success"> | Decrease @cite corcoran1943effects | </span>¦
¦ | Stop Hemorrhage | ¦ |  | ¦ | 620 | ¦ | 1000 | ¦<span class="success"> | Slight Increase @cite corcoran1943effects | </span>¦<span class="success"> | Steady @cite corcoran1943effects | </span>¦<span class="success"> | Slight Increase @cite corcoran1943effects | </span>¦<span class="success"> | Steady @cite corcoran1943effects | </span>¦

## HemorrhageClass3NoFluid
¦ | Action | ¦ | Notes | ¦ | Action Occurrence Time (s) | ¦ | Sampled Scenario Time (s) | ¦ | Glomerular Filtration Rate (mL/min) | ¦ | Mean Arterial Pressure (mmHg) | ¦ | %Renal Blood Flow(mL/min) | ¦ | Urine Production Rate (mL/min) | ¦
¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦
¦ | Initiate 250 mL/min Hemorrhage | ¦ |  | ¦ | 30 | ¦ | 600 | ¦<span class="success"> | Decrease @cite corcoran1943effects | </span>¦<span class="success"> | Decrease @cite corcoran1943effects | </span>¦<span class="success"> | Decrease @cite corcoran1943effects | </span>¦<span class="success"> | Decrease @cite corcoran1943effects | </span>¦
¦ | Stop Hemorrhage | ¦ |  | ¦ | 605 | ¦ | 1000 | ¦<span class="success"> | Slight Increase @cite corcoran1943effects | </span>¦<span class="success"> | Steady @cite corcoran1943effects | </span>¦<span class="success"> | Slight Increase @cite corcoran1943effects | </span>¦<span class="success"> | Steady @cite corcoran1943effects</span> | </span>¦

## HighAltitudeEnvironmentChange
¦ | Action | ¦ | Notes | ¦ | Action Occurrence Time (s) | ¦ | Sampled Scenario Time (s) | ¦ | Glomerular Filtration Rate (mL/min) | ¦ | %Renal Blood Flow(mL/min) | ¦ | Urine Production Rate (mL/min) | ¦
¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦
¦ | Initiate Environment Change | ¦ |  | ¦ | 50 | ¦ | 900 | ¦<span class="success"> | Slight Increase @cite guyton2006medical | </span>¦<span class="success"> | Slight Increase @cite guyton2006medical | </span>¦<span class="success"> | Increase @cite guyton2006medical | </span>¦

## SodiumIngestion
¦ | Actions | ¦ | Notes | ¦ | Occurrence Time (s) | ¦ | Sampled Scenario Time (s) | ¦ | Urine Production Rate (mL/min) | ¦ | Mean Arterial Pressure (mmHg) | ¦ | Bladder Chloride Concentration (g/L) | ¦ | Bladder Urea Concentration (g/L) | ¦
¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦
¦ | After stabilization patient given 1L of water with 100g NaCl | ¦ |  | ¦ | 0 | ¦ | 3600 | ¦<span class="success"> | Slight Increase @cite dean1949renal | </span>¦<span class="success"> | No Change @cite dean1949renal | </span>¦<span class="success"> | Increased Then Normal @cite dean1949renal | </span>¦<span class="danger"> | Increase @cite dean1949renal | </span>¦

## WaterIngestion
¦ | Action | ¦ | Notes | ¦ | Occurrence Time (s) | ¦ | Sampled Scenario Time (s) | ¦ | Urine Production Rate (mL/min) | ¦ | Mean Arterial Pressure (mmHg) | ¦ | Plasma Sodium Concentration (mg/L) | ¦ | Bladder sodium concentration (mg/L) | ¦
¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦
¦ | After stabilization patient given 1L of water | ¦ |  | ¦ | 0 | ¦ | 3600 | ¦<span class="success"> | Increase @cite baldes1934effect | </span>¦<span class="success"> | No Change @cite baldes1934effect | </span>¦<span class="success"> | Decrease @cite baldes1934effect | </span>¦<span class="success"> | Decrease Then Slight increase @cite baldes1934effect | </span>¦

## Starvation (Removed)
¦ | Action | ¦ | Notes | ¦ | Action Occurrence Time (s) | ¦ | Sampled Scenario Time (days) | ¦ | Urine Sodium Concentration (mmol/L) | ¦ | Urine Calcium Concentration (mmol/L) | ¦ | Creatine Concentration (mmol/L) | ¦ | Urine Creatine Clearance (mL/min) | ¦
¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦ | ------------------------ | ¦
¦ | Patient is experiencing starvation | ¦ |  | ¦ | 0 | ¦ | 4 | ¦<span class="warning"> | Decrease @cite sapir1975ketones | </span>¦<span class="warning"> | Decrease @cite sapir1975ketones | </span>¦<span class="success"> | Increase @cite sapir1975ketones | </span>¦<span class="success"> | Decrease @cite sapir1975ketones | </span>¦