## Template
Scenario Name | Description
Template | Describe what this scenario is testing
Data Request Files | Patient File | Conditions
StandardDataRequests, RespiratoryDataRequests, MechanicalVentilatorDataRequests | StandardMale.json | "AcuteRespiratoryDistressSyndrome": { "Severity": { "Scalar0To1": { "Value": 0.6 } }, "LeftLungAffected": { "Scalar0To1": { "Value": 1.0 }}, "RightLungAffected": { "Scalar0To1": { "Value": 1.0 }}, "ChronicAnemia": { "ReductionFactor": { "Scalar0To1": { "Value": 0.3 }}}
Segment | Note | Actions
1 |  | AdvanceTime: { "Time": { "ScalarTime": { "Value": 30.0, "Unit": "s" }}}
Segment | Note | Actions
2
Data Header | Comparison Type / To | Reference/Notes
RespirationRate | > 12 1/min
RespirationRate | >= 12 1/min
RespirationRate | < 12 1/min
RespirationRate | <= 12 1/min
RespirationRate | 12,20] 1/min
ActiveEvent | Tachycardia
InactiveEvent | Tachycardia
Segment | Note | Actions
2 |  | "Serialize": { "Type": "Save", "Filename": "ARDS.json" }

## Severe ARDS
Scenario Name | Description
MechanicalVentilator_PC-CMV_Severe_ARDS | Apply a PM-CMV mode ventilator to treat a patient with severe ARDS.
Data Request Files | Patient File | Conditions
StandardDataRequests, RespiratoryDataRequests, EquipmentDataRequests, MechanicalVentilatorDataRequests | StandardMale.json | {"AcuteRespiratoryDistressSyndrome": { "Severity": { "Scalar0To1": { "Value": 0.9 } }, "LeftLungAffected": { "Scalar0To1": { "Value": 1.0 }}, "RightLungAffected": { "Scalar0To1": { "Value": 1.0 }}}
Segment | Note | Actions
1 | Mode: PC-CMV Inspiratory Pressure Target: set empirically to achieve VT Target VT Target (mL/kg): 6 VT Target (mL): 452 PEEP (cm H2O): 11 FiO2 (%): 100 Mandatory Rate (bpm): 25 I:E: 0.90 Minute Ventilation (L/min): 11.5 | {"AdvanceTime": { "Time": { "ScalarTime": { "Value": 30.0, "Unit": "s" }}}}, {"PatientAction": { "Intubation": { "Type": "Tracheal" } }} , {"PatientAction": { "Dyspnea": { "Severity": { "Scalar0To1": { "Value": 1.0 } } } }} , {"EquipmentAction": { "MechanicalVentilatorConfiguration": { "MechanicalVentilatorAction": { "EquipmentAction": { "Action": { "Comment": "Attach the mechanical ventilator - PC-CMV: RR = 25 bpm, I:E = 0.9, TV = 6 mL/kg(ideal)" }}}, "Settings": { "Connection": "On", "InspirationWaveform": "Square", "ExpirationWaveform": "Square", "PeakInspiratoryPressure": { "ScalarPressure": { "Value": 33.4, "Unit": "cmH2O" } }, "PositiveEndExpiredPressure": { "ScalarPressure": { "Value": 11.0, "Unit": "cmH2O" } }, "InspirationMachineTriggerTime": { "ScalarTime": { "Value": 1.137, "Unit": "s" } }, "ExpirationCycleTime": { "ScalarTime": { "Value": 1.263, "Unit": "s" } }, "FractionInspiredGas": [ { "Name": "Oxygen", "Amount": { "Scalar0To1": { "Value": 0.9996, "Unit": "" }}}]}}}}, {"AdvanceUntilStable": { "Criteria": "Acute Respiratory Distress Syndrome"}},
Data Header | Comparison Type / To | Reference/Notes
MechanicalVentilator-RespirationRate (1/min) | equalTo 25 1/min
MechanicalVentilator-InspiratoryExpiratoryRatio | equalTo 0.9
MechanicalVentilator-StaticPulmonaryCompliance (L/cmH2O) | [20,54] | @cite arnal2018parameters, Decrease @cite arnal2013feasibility,
MechanicalVentilator-PulmonaryResistance (cmH2O s/L) | [10,16] | @cite arnal2018parameters, No change @cite arnal2013feasibility,
BloodPH | [7.15,7.34] | @cite arnal2013feasibility
Aorta-CarbonDioxide-PartialPressure (mmHg) | [45,57] | @cite arnal2013feasibility
Aorta-Oxygen-PartialPressure (mmHg) | [56,83] | @cite arnal2013feasibility
HorowitzIndex (mmHg) | lessThan 100 | Decrease, <100 @cite ferguson2012berlin
OxygenSaturation | [88.8,96.1] | @cite arnal2013feasibility, @cite kacmarek2016egan
ShuntFraction | lessThan 40 | @cite petersson2014gas, Increase @cite radermacher2017fifty
AlveolarDeadSpace L | Increase from Baseline | @cite nuckton2002pulmonary
Segment | Note | Actions
2 |  | "Serialize": { "Type": "Save", "Filename": "SevereARDS.json" }

## Notes
Generate
Scenario - need timing from stabilization run
Results CSVs
Plots with action/event lines
Validation tables
Color coding and citations for methodology reports
Include output values
States
HTML report
Include plots and tables
Include vitals monitor screen shots?
Include ventilator screen shots?
Probably copy over some sort of description and objectives text
Questions
How to handle labs?

## Example
Patient/State | StandardMale
Conditions | "AcuteRespiratoryDistressSyndrome": { "Severity": { "Scalar0To1": { "Value": 0.6 } }, "LeftLungAffected": { "Scalar0To1": { "Value": 1.0 }}, "RightLungAffected": { "Scalar0To1": { "Value": 1.0 }}, "ChronicAnemia": { "ReductionFactor": { "Scalar0To1": { "Value": 0.3 }}}
Data Requests | StandardDataRequests
RespiratoryDataRequests
MechanicalVentilatorDataRequests
|  |  | Segment |  |  | States | RespirationRate |  |  | LeftAlveoli-Oxygen-PartialPressure
|  | Note | Description | Actions | Length |  | Value/Trend | Note | Reference | Value/Trend | Note | Reference
|  | Setup | Attach the mechanical ventilator and start group 1 hemorrhage. | "EquipmentAction": { "MechanicalVentilatorConfiguration": { "MechanicalVentilatorAction": { "EquipmentAction": { "Action": { "Comment": "Attach the mechanical ventilator - PC-CMV: RR = 15 bpm, I:E = 0.6, TV = 7 mL/kg(ideal)" }}}, "Settings": { "Connection": "On", "InspirationWaveform": "Square", "ExpirationWaveform": "Square", "PeakInspiratoryPressure": { "ScalarPressure": { "Value": 18.0, "Unit": "cmH2O" } }, "PositiveEndExpiredPressure": { "ScalarPressure": { "Value": 5.0, "Unit": "cmH2O" } }, "InspirationMachineTriggerTime": { "ScalarTime": { "Value": 2.5, "Unit": "s" } }, "ExpirationCycleTime": { "ScalarTime": { "Value": 1.5, "Unit": "s" } }, "FractionInspiredGas": [ { "Name": "Oxygen", "Amount": { "Scalar0To1": { "Value": 0.3, "Unit": "" } } } ] } } } "PatientAction": { "Hemorrhage": { "Compartment": "VenaCava", "FlowRate": { "ScalarVolumePerTime": { "Value": 175.0, "Unit": "mL/min" } } } } | 30 s |  | 12 1/min |  | mortelliti2002acute | No Change
|  | Learner Action |  |  | 5 min |  | > 20 1/min | Tachycardia |  | Decrease
[5 empty] | Until Stable | ARDS_Start |  |  |  | Increase
[7 empty] | [12, 20] 1/min |  |  | Towards Normal
Note on H9: Jeff Webb: Add @<time>s to filename
Note on K10: Jeff Webb: Automatically add the @cite tag.
Note on G11: Jeff Webb: Add advance time actions.
Note on G13: Jeff Webb: Define like stabilization criteria. Maybe point this to a specific config file to make it more dynamic?
Note on I14: Jeff Webb: Bounds